## Disclaimer
Disclaimer
The Green Star sustainability rating system for buildings and communities (“Green Star”) and the Green Star Buildings rating tool (“Green Star Buildings”) have been developed by the New Zealand Green Building Coucil ("NZGBC"), Green Building Council of Australia (“GBCA”) in collaboration with sustainability and industry experts.
Green Star is based on industry standards and best practice. It does not form part of any compulsory building code or rule. Applicants make their own decision to use Green Star rating tools and seek certification with the benefits it delivers. Use of Green Star and certification against the rating tool is on an as is basis. As such any shortcomings or problems arising from the use of Green Star cannot be used as a basis of a claim for liability against NZGBC.
Green Star Buildings evaluates sustainability outcomes for the design and construction of all types of buildings (with the exception residential buildings). It is intended for use by stakeholders including project team members as a guide for green and sustainable existing building operations. As with all Green Star rating tools, Green Star Buildings may be subject to further development in the future.
The GBCA authorises you to view and use Green Star Buildings for your individual use only. In exchange for this authorisation, you agree that the GBCA retains all copyright and other proprietary rights contained in and in relation to Green Star Buildings and agree not to sell, modify, or use for another purpose all or any part of the rating tool or to reproduce, display or distribute the rating tool in any way for any public or commercial purpose, including display on a website or in a networked environment. Unauthorised use of Green Star and/or Green Star Buildings will violate copyright and other laws, and is prohibited. All text, graphics, layout and other elements of content contained in Green Star and its rating tools are owned by the GBCA and are protected by copyright, trade mark and other laws.
To the maximum extent permitted by law, the GBCA does not accept responsibility, including without limitation for negligence, for any inaccuracy within Green Star and/or its rating tools and makes no warranty, expressed or implied, including the warranties of merchantability and fitness for a particular purpose, nor assumes any legal liability or responsibility to you or any third parties for the accuracy, completeness, or use of, or reliance on, any information contained in Green Star and/or Green Star Buildings, or for any injuries, losses or damages (including, without limitation, equitable relief and economic loss) arising out of such use or reliance. Green Star and Green Star Buildings are no substitute for professional advice. You should seek your own professional and other appropriate advice on the matters addressed by them.
As a condition of use, you covenant not to sue, and agree to waive and release the GBCA, its officers, agents, employees and its members from any and all claims, demands and causes of action for any injury, loss, destruction or damage (including, without limitation, equitable relief and economic loss) that you may now or hereafter have a right to assert against such parties as a result of your use of, or reliance on, Green Star and/or Green Star Buildings.
The GBCA does not endorse any self-assessed Green Star rating claimed to have been achieved by the use of Green Star Buildings. The GBCA offers a formal certification process for 4 Star ratings and above; this service provides for independent third party assessment to ensure all points claimed can be demonstrated to be achieved by the provision of the necessary documentary evidence. The use of Green Star Buildings without formal certification by the GBCA does not entitle the user or any other party to promote the Green Star rating claimed to have been achieved or to use any GBCA trade mark.
The application of Green Star Buildings to the design and construction of all types of buildings (with the exception of single detached dwellings) is encouraged to assess and improve their sustainability outcomes. However, formal recognition of the Green Star rating – and the right to promote same – requires undertaking the formal certification process offered by the GBCA.
You are only authorised to proceed to use Green Star and Green Star Buildings on this basis.
All rights reserved.

## Introduction
Introduction
Using the Scorecard
Inputs can be made for the following fields:
- 'Targeted performance level' for each credit
- Points available for Leadership Challenges
The targeted performance level can be selected for each credit and a sum of points across the relevant performance levels are provided in 'Total points targeted'. When multiple point values are available for a chosen performance level, the cell in the 'Total Points Targeted' column will be highlighted in red for the user to enter a custom value within the available points range.
Each category has a sum for the total points targeted in that category
Terms & definitions
Summary - Net Zero Ready Pathway
Registering from
The range of years which the project registers from will determine the requirements of the pathway. See submission guidelines for more information.
Desired Green Star rating
The pathway also depends on the rating that the project is seeking. Each rating will have to meet a different level of requirements in the pathway. The requirements for the desired rating will be coloured in blue for each relevant credit's performance level (note this is different to the calculated targeted rating).
Summary - Scoring
Minimum expectations met
Indicates if all 16 Minimum Expectations in the rating tool have been met
Core points targeted
Sum of all points targeted, excluding those in the Leadership category. There are 100 core points available.
Leadership points targeted
Sum of points targeted in the Leadership category.
Total points targeted
Sum of the core points and Leadership points targeted. The total points targeted and assessed will always be capped at 100.
Targeted Green Star rating
The Green Star rating equivalent to the points targeted by the project. This ranges from 4 to 6 Star.
Submission planner
Minimum Expectation
A dot is shown when a Minimum Expectation applies to the credit.
Credit Achievement
The number of points available if Credit Achievement can be targeted for the credit.
Exceptional Performance
The number of points available if Exceptional Performance can be targeted for the credit.
Some credits have multiple point options avaialbe for Credit Achivement and Exceptional Performance. These cells will appear in red and the targeted score must be manually selected from the drop down list.
Total points available
Sum of points available for the credit across all performance levels.
Targeted performance level
Input for users to select the performance level being targeted for each credit
Total points targeted
Sum of points targeted for the credit based on the performance level selected.
Comments
Free text input to enter any comments about the credit to help plan the submission.

## Risk Assessment
Project name:
Targeted Rating:
Staus
Staus Design
Staus As Built
| Credit Outcome | Credit Criteria * Please see the Submission Guidelines for the full criteria | Code | Minimum | Credit Achievement | Exceptional Performance | Points Targeted (Baseline) | Points Targeted (Current) | Points at Risk | Point(s) Status | Credit Status | Key Responsible Party | All Responsible Parties | Risk comment | Risk Rating | Documentation Cost | Implementation Cost | General comments
Responsible
Industry Development | The development facilitates industry transformation through partnership, collaboration, and data sharing. | Credit Achievement - The building owner or developer appoints a GSAP - Disclosement of costs of sustainable practices (Financial Transparency) - Marketing of the building's sustainability achievements | 1 |  | 1 |  |  |  |  | Not Targeted |  | GSAP | Developer, QS, GSAP |  | Low
Responsible Construction | The builder’s construction practices reduce impacts and promote opportunities for improved environmental and social outcomes. | Minimum Expectation - Main Contractor has a project specific Environmental Management System - Main Contractor has a project specific Enviornmental Management Plan - Diversion of ≥40% of demolition & construction waste from landfill Credit Achievement - Waste Contractor comply with waste reporting criteria - Diversion of ≥70% of demolition & construction waste from landfill OR ≺15kg/m² | 2 | ● | 1 |  |  |  |  | Unlikely |  | GSAP | Main Contractor, GSAP |  | Moderate
Verification and Handover | The building has been optimised and handed over to deliver a high level of performance in operation. | Minimum Expectation - Metering and monitoring system installed - Environmental performance targets implemented, and designed and tested for airtightness, and will be commissioned and tuned - Operaiotnal and maintenance information is prepared by the project team, and a Building User Guide is issued to the building user Credit Achievement - ICA is engaged through the design, construction, commissioning and tuning phases OR the project uses a soft landings approach that involves the future facilities management team. If a large project - both applies. | 3 | ● | 1 |  |  |  |  | Not Applicable |  | Mech, Elec, Hyd | Mech, Elec, Hyd, GSAP, Developer, ICA
Responsible Resource Management | Operational waste and resources can be separated and recovered in a safe and efficient manner. | Minimum Expectation Prescriptive: - The buildings design has made an allowance for separate waste streams - The building provdes an adequate area for resurce storage and waste collection - The building ensures safe and efficient waste storage areas for occupants and collection contractors Performance: - Preparation of a Operational Waste Management Plan (OWMP) | 4 | ● | [5 empty] | Likely |  | Waste Specialist | Waste Specialist, GSAP, Architect, Developer
Responsible Procurement | The procurement process for key products, materials, and services for the building’s design and construction follows best practice enviromental and social principles. | Credit Achievement Organisations with annual revenue ≻$20 million: - Design and construction procurement in accordance with IS0 20400 - Responsible procurement plan is developed to mitigate risks and implement opportunities identified in the assessment Organisations with annual revenue ≺$20 million: - Design and construction procurement in accordance with ISO 20400 for top 5 trade packages ($ value), considering at leats both Human rights, and the environment. - Risk Controls of clauses in tenders, contracts and supplier management are identified | 5 |  | 1 | [6 empty] | GSAP | Architect, Main Contractor, Developer
Responsible Structure | The building’s structure is comprised of responsibly manufactured products. | Credit Achievement - 3 points if 50% of all structural components ($ value) meet a Responsible Products Value (RPV) of ≥10 Exceptional Performance - 10% of all products in the structure (by $ value) meet a RPV of ≥15 OR - 80% of all structural components ($ value) meet a Responsible Products Value (RPV) of ≥10 | 6 |  | 3 | 2 | [5 empty] | GSAP | Main Contractor, GSAP, Structural, Architect
Responsible Envelope | The building’s envelope is comprised of responsibly manufactured products. | Credit Achievement - 2 points if 30% of all envelope components ($ value) meet a Responsible Products Value (RPV) of ≥10 Exceptional Performance - 10% of all products in the envelope (by $ value) meet a RPV of ≥15 OR - 60% of all envelope components ($ value) meet a Responsible Products Value (RPV) of ≥10 | 7 |  | 2 | 2 | [5 empty] | GSAP | Main Contractor, GSAP, Structural, Architect
Responsible Systems | The building’s mechanical, hydraulic, transportation and electrical systems are comprised of responsibly manufactured products. | Credit Achievement - 20% of all active building systems ($ value) meet a Responsible Products Value (RPV) of ≥6 Exceptional Performance - 5% of all active building systems (by $ value) meet a RPV of ≥11 OR - 35% of all active building systems ($ value) meet a Responsible Products Value (RPV) of ≥6 | 8 |  | 1 | 1 | [5 empty] | GSAP | Main Contractor, GSAP, Service Consultants
Responsible Finishes | The building’s internal finishes are comprised of responsibly manufactured products. | Credit Achievement - 40% of all internal building finishes ($ value) meet a Responsible Products Value (RPV) of ≥7 Exceptional Performance - 10% of all internal building finishes (by $ value) meet a RPV of ≥12 OR - 60% of all internal building finishes ($ value) meet a Responsible Products Value (RPV) of ≥7 | 9 |  | 1 | 1 | [5 empty] | GSAP | Main Contractor, GSAP, Architect
[5 empty] | 11 | 6 | 0 | 0 | 0 | [6 empty] | 0 | 0
Healthy
Clean Air | Pollutants entering the building are minimised, and a high level of outdoor air is provided to ensure levels of indoor pollutants are mainatianed at accepted levels. | Minimum Expectation - Levels of indoor pollutants are mainatined at acceptable levels - A high level of outdoor air is provided - Polluants entering the building are minimised Credit Achievement - Easy maintenance to building's ventilation system - A high level of outdoor air is provided | 10 | ● | 2 | [6 empty] | Mechanical Consultant | Mech. Consultant, GSAP, Architect, Developer
Light Quality | The building provides good daylight and its lighting is of high quality. | Minimum Expectation - Lightning within building meets minimum comfort levels - Good lightning levels for each space - Adaquate daylight levels Credit Achievement - Building provides best practice artificial lightning OR - the building provides best practice access to daylight Exceptional Performance - The building provides best practice artificial lightning - The building provides best practice access to daylight | 11 | ● | 2 | 2 | [5 empty] | Electrical Consultant | Elec. Consultant, GSAP, Architect
Acoustic Comfort | The building provides acoustic comfort for building occupants. | Minimum Expectation - An acoustic report is prepared, describing acoustic design aims to deliver comfort to occupants Credit Achievement - Either achieving maximum internal noise levels and/or acoustic seperation and/or reerberation control | 12 | ● | 2 | [6 empty] | Acoustic Engineer | Acoustic Engineer, GSAP, Architect
Exposure to Toxins | The building’s occupants are not directly exposed to toxins in the spaces they spend time in. | Minimum Expectation - Paints, Adhesives, Sealants and carpets are low TVOC or non-toxic - Engineered Wood Products (EWP) are low TVOC or non-toxic - Occupants are not exposed to banned or highly toxic materials Credit Achievement - On-site tests conducted to prove low VOC and formaldehyde levels. | 13 | ● | 2 | [6 empty] | Main Contractor | Main Contractor, GSAP, Architect
Thermal Comfort and Amenity Spaces | The building provides a high level of thermal comfort and internal amenities that improve occupant experience of using the building. | Minimum Expectation - A high degree of Thermal Comfort is provided to occupants in the space, by ensuring operative temperature is maintained within a set range Credit Achievement - Dedicated amenity rooms i.e Parent room, gym, relaxation room OR - A high degree of Thermal Comfort is provided to 90% of the regularly occupied space. Exceptional Performance - Both items in Credit Achievement have been achieved | 14 | ● | 1 | 1 | [5 empty] | Thermal Modeller | Thermal Modeller, GSAP, Mech. Consultant
Connection to Nature | The building fosters connection to nature for building occupants. | Credit Achievement - Building provides views - Building includes plants and incorporates nature-inspired design OR - 5% of regularly occupied spaces is allocated to nature which occupants can engage with Exceptional Performance - Building provides views - Building includes plants and incorporates nature-inspired design - 5% of regularly occupied spaces is allocated to nature which occupants can engage with | 15 |  | 1 | 1 | [5 empty] | Architect | Architect, GSAP, Developer
[5 empty] | 10 | 4 | 0 | 0 | 0 | [6 empty] | 0 | 0
Resilient
Climate Change Resilience | The building has been built to respond to the direct and indirect impacts of climate change. | Minimum Expectation - Climate Change Pre-screening Checklist is completed and communicated to project team Credit Achievement - Climate Change Risk Assessment is developed and implemented - Climate Adaptation Plan (CAP) is developed and implemented | 16 | ● | 1 | [6 empty] | Climate Specialist | GSAP, Architect, Struct. Eng., Mech. Consultant, Hyd Consultant, Elect. Consultant, Civil Eng.
Operations Resilience | The building can respond to acute shocks and chronic stresses that can affect its operations over time. | Credit Achievement - Comprehensive review of acute shocks and chronic stresses likely to influence future building operations - Operational plan addresses any high or extreme system-level interdependency risks - Building maintain as a level of survivability and design purpose in a blackout | 17 |  | 2 | [6 empty] | Specialist
Community Resilience | The building contributes to improving the resilience of the community. | Credit Achievement - Needs Analysis undertaken of the community that identifies the shocks and stresses that impact the building's ability to serve the community, and develop responses to manage these | 18 |  | 1 | [6 empty] | Specialist
Heat Resilience | The building reduces its impact on heat island effect. | Credit Achievement - ≥75% of the site compromises of one or more combination of strategies that reduce the heat island effect. | 19 |  | 1 | [6 empty] | Specialist | Architect
Grid Resilience | The building contributes to the functioning of the grid as it transitions to a higher level of renewable energy capacity. | Credit Achievement - Building provides active generation and storage systems and/or - Building has the infrastructure to deliver and appropriate demand response strategy and/or - Building has reduced its electricity consumption through passive design Exceptional Performance - The building provides active generation and storage systems | 20 |  | 3 | [6 empty] | Electrical Consultant | Elec. Consultant, GSAP
[5 empty] | 8 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0
Positive
Upfront Carbon Emissions | The building's upfront carbon emissions from materials and products have been reduced and offset. | Minimum Expectation - 10% of the building's upfront carbon reduction compared to the reference building Credit Achievement - ≥ Percentage depending on points targeted Exceptional Performance - ≥ Percentage depending on points targeted | 21 | ● | 3 | 3 | [5 empty] | Carbon Modeller | Carbon Modeller, GSAP, Architect, Struct. Eng
Energy Use | The building has low energy consumption. | Minimum Expectation - Building's energy use is ≤10% of a reference building Credit Achievement - For 3 points: Building's energy use is ≤30% less than the reference building Exceptional Performance - For 4 points: Building's energy use is ≤53% less than the reference building | 22 | ● | 3 | 3 | [5 empty] | Energy Modeller | Energy Modeller, Mech. Consultant, Elec. Consultant, Hyd. Consultant, GSAP, Architect
Energy Source | The building's energy comes from renewables. | Minimum Expectation - 100% of the building's energy supply is from electricity or renewable energy - Building has a Zero Carbon Action Plan Credit Achievement - 10% of the building's electricity is generated from renewables on-site Exceptional Performance - 20% of the building's electricity is generated from renewables on-site | 23 | ● | 3 | 3 | [5 empty] | Electrical Consultant | Elec. Consultant, GSAP
Other Carbon Emissions | The building's emissions from refrigerants, upfront carbon, and remaining carbon sources are eliminated or offset. | Credit Achievement -Elimination of emissions from Refrigerants OR - Minimise Refrigerant leakage and offsets emissions from Refrigerants Exceptional Performance - All remaining emissions are eliminated or offset | 24 |  | 2 | 2 | [5 empty] | Mechanical Consultant | Mech. Consultant, GSAP
Water Use | The building has low water use. | Minimum Expectation - Building has efficient water fixtures OR - Building's potable water usage is ≺15% of a reference building Credit Achievement - Building's potable water usage is ≺25 - 35% of a reference building Exceptional Performance - Building's potable water usage is ≺40-60% of a reference building | 25 | ● | 3 | 3 | [5 empty] | Hydraulic Consultant | Hyd. Consultant, GSAP, Architect
Life Cycle Impacts | The building has lower environmental impacts from resource use over its lifespan than a typical building. | Credit Achievement - Project demonstrates a 15% reduction compared to standard practice Exceptional Performance - Project demonstrates a 30% reduction compared to standard practice | 26 |  | 2 | [6 empty] | Carbon Modeller | Carbon Modeller, Architect, Struct. Eng
[5 empty] | 16 | 14 | 0 | 0 | 0 | [6 empty] | 0 | 0
Places
Movement and Place | The building’s design and location encourage occupants and visitors to use active, low carbon, and public transport options instead of private vehicles. | Minimum Expectation - End of trip faculties provided - Facilities are accessible, inclusive and located in a safe and protected area Credit Achievement - Building's prioritises cycling and includes adequate bicycle storage - Sustainable Transport Plan (STP) is prepared and implemented - EV Charging provided - Prioritisation of non-fossil fuel vehicles and pool vehicles is demonstrated - Prioritisation of walking is demonstrated | 27 | ● | 3 | [6 empty] | GSAP | GSAP, Architect, Elec. Consultant, Developer
Enjoyable Places | The building provides places that are enjoyable and inclusive. | Credit Achievement - Building provides memorable, beautiful, vibrant places for people to gather - Spaces are inclusive, safe, flexible and enjoyable | 28 |  | 2 | [6 empty] | Architect | Architect, GSAP, Developer
Contribution to Place | The building’s design makes a positive contribution to the quality of the public environment. | Credit Achievement - Building's design contributes towards creating well-functioning urban environment and enhances public realm OR - Independent review of spaces during the development of the design | 29 |  | 2
Culture, Heritage, and Identity | The building reflects local culture, heritage, and identity. | Credit Achievement - Building's design reflects local demographics and identities, and recognises history of the place, and any hidden or minority entities OR - Meaningful engagement with community groups during the design phase process | 30 |  | 1
[5 empty] | 8 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0
People
Inclusive Construction Practices | The builder’s construction practices promote diversity and reduces physical and mental health impacts. | Minimum Expectation - Inclusive facilities provided by the Main Contractor through construction phase. Policies implemented on-site to increase awareness and reduce instances of discrimination, racism, and bullying Credit Achievement - Policies and/or programs undertaken on-site catering to workers on-site - Main Contractor provides high quality staff support to reduce at least 5 mental and physical health impacts - Effectiveness of interventions is evaluated | 31 | ● | 1 | [6 empty] | Main Contractor | Main Contractor, GSAP
Tohu Mauri Ora | To regenerate and enhance the mauri of the environment and communities through partnerships with and/or leadership by local hapū/iwi. | Credit Achievement - Work ith the local hapū/iwi to identify their priorities for the project and demonstrate how these have been achieved to their satisfaction. Exceptional Performance Create an enduring relationship with hapū/iwi beyond the project OR The project team has worked collaboratively with the local hapū/iwi throughout the duration of the project to achieve above and beyond what their project priorities are. | 32 |  | 1 | 1 | [5 empty] | Specialist
Procurement and Workforce Inclusion | The building’s construction facilitates workforce participation and economic development of disadvantaged and under-represented groups. | Credit Achievement - Project implements a social procurement plan - ≥1% of the building's contract value has been directed to generate employment opportunities for disadvantaged and under-represented groups Exceptional Performance - Project implements a social procurement plan - ≥2% of the building's contract value has been directed to generate employment opportunities for disadvantaged and under-represented groups | 33 |  | 2 | 1 | [5 empty] | GSAP | GSAP, Main Contractor, Developer, NGO
Design for Inclusion | The building is welcoming to a diverse population and is welcoming to their needs. | Credit Achievement - Building is designed and constructed to be inclusive to a diverse range of people with different needs - Needs Analysis is conducted as a result of an engagement with target groups Exceptional Performance - Building delivers 3 or more inclusive in design actions that are beyond the Credit Achievement checklist | 34 |  | 2 | 1 | [5 empty] | GSAP | GSAP, Architect
[5 empty] | 6 | 3 | 0 | 0 | 0 | [6 empty] | 0 | 0
Nature
Impacts to nature | Ecological value is conserved and protected. | Minimum Expectation - Building is not located on a site of significance or of high ecological value - Light pollution has been minimised - Ongoing monitoring, reporting and management of sensitive ecosystems within the site Credit Achievement - Building design and construction conserves existing natural soil, hydrological flow and native vegetation elements - If deemed necessary by an Ecologist, ≥50% of existing site with high biodiversity value is retained | 35 | ● | 2 | [6 empty] | Planner | Planner, GSAP, Architect, Landscape Architect
Biodiversity Enhancement | The building’s landscape enhances the biodiversity of the site. | Credit Achievement - Appropiate landscaped area is provided - Landscaping allows for a diverse range of flora species and prioritises the use of climate-resilient and indigenous plants - Landsaping considers refuge and/or food for native fauna - Site specific Bio-diversity Management Plan Exceptional Performance - A greater level of landscaping is provided - Landscaping including critically endangered and/or endangered species native to the ecological district, or planting which provides foraging for critically endangered fauna species | 36 |  | 2 | 2 | [5 empty] | Landscape Architect | Landscape Architect, GSAP, Architect
Nature Connectivity | Wildlife movement is facilitated within and adjacent to the site. | Credit Achievement - Site designed and built to encourage species connectivity. Project should contribute to wider connectivity plan/scheme if one exists | 37 |  | 2 | [6 empty] | Specialist | Landscape Architect, GSAP, Specialist
Nature Stewardship | Biodiversity is restored beyond the building site. | Credit Achievement - Areas of restoration or protection are provided - Restoration activities beyond the projects boundary are undertaken - The building owner undertakes activities that protects or restores biodiversity at scale - These actions occur beyond legislated requirements | 38 |  | 2 | [6 empty] | Specialist | Landscape Architect, GSAP, Specialist
Waterway protection | Local waterways are protected, and the impacts of flooding and drought are reduced. | Credit Achievement - Project team can demonstrate that the Average Recurrence Interval (ARI) event discharge from the site does not exceed 80% of the pre-development ARI - Specified pollution targets are met Exceptional Performance - Project team can demonstrate that the Average Recurrence Interval (ARI) event discharge from the site does not exceed ARI generated by a grenfield site of the pre-development ARI - Specified pollution targets are met | 39 |  | 2 | 2 | [5 empty] | Specialist | Landscape Architect, GSAP, Specialist
[5 empty] | 10 | 4 | 0 | 0 | 0 | [6 empty] | 0 | 0
Leadership
Market Transformation |  |  |  |  | 5
Leadership Challenges
Sector Specific Credits
[16 empty] | 0 | 0
[16 empty] | Costs (incl 15% contingency) |  | Comment
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
[16 empty] | 0 | 0
0

## Sheet2 (hidden)
Point(s) Status | Risk Rating
Not Applicable | Extreme
Not Targeted | High
Likely | Moderate
Unlikely | Low
At Risk | Achieved